## Cover
[6 empty] | DATA SHEET | [5 empty] | CLIENT
LG Chem
DOC. NO.
| JOB NO. |  |  | : M0556 |  | WEATHER SYSTEM | [5 empty] | DS-IN-F-051
| PROJECT NAME |  |  | : IPA 50KTA Exp. | [7 empty] | REV. NO.
| LOCATION |  |  | : Yeosu, Korea | [7 empty] | A
IPA
| CLIENT |  | LG Chem Ltd.
| PROJECT |  | IPA 50KTA Expansion
| LOCATION |  | Yeosu, Korea
UNIT
DATA SHEET
FOR
WEATHER SYSTEM
SERVEONE |  |  |  |  | SERVEONE CONFIDENTIAL INFORMATION: The drawings, designs, ideas, specifications and information contained in this document constitute
confidential information belonging to SERVEONE. Neither this document nor its contents may be used for any purpose or disclosed in any manner
CONSTRUCTION BUSINESS UNIT |  |  |  |  | without the prior written consent of SERVEONE. Reproduction of this document without the prior written consent of SERVEONE or LG Chem.,Ltd.
is prohibited. Any authorized reproduction of this document, or any part thereof, including vendors' shop drawings, shall incorporate this notice."
A |  | OCT.18.'18 |  |  | FOR QUOTAION |  | J.H Jung |  | C.M Lee | K.Y Noh |  |  | H.D Yoon
Rev. |  | Date |  |  | Description |  | Prepared |  | Checked | Approved |  |  | Authorized
JOB NO. |  |  |  |  | DEPARTMENT |  |  | DOCUMENT NO. |  |  | ISSUE DATE
M0556 |  |  |  |  | E&I (INSTRUMENT) |  |  | DS-IN-F-051 |  |  | 2018.10.18

## DATA SHEET
|  |  |  | DATA SHEET | CLIENT
LG Chem
DOC. NO.
| JOB NO. |  | : M0556 | WEATHER SYSTEM | DS-IN-F-051
| PROJECT NAME |  | : IPA 50KTA Exp. |  | REV. NO.
| LOCATION |  | : Yeosu, Korea |  | A
1 | GENERAL | Tag No. |  | WEATHER SYSTEM
2 |  | Quantity |  | 1 Lot
3
4
5 | System Hardware | 1) 신호 변환 및 데이터 처리장치 |  | 1 set
6 |  | 2) Monitor |  | 1 set (15" Touch Screen)
7 |  | 3) 풍향속 센서 |  | 1 set
8 |  | 4) 온습도 센서 |  | 1 set
9 |  | 5) 기압 센서 |  | 1 set
10 |  | 6) 센서 마운트용 스탠드 |  | 1 set (Stainless Steel 2.7 m)
11 |  | 7) Junction Box |  | 2 sets
12 |  | 8) Bulk Materia for Installation |  | Required
13 |  | 9) Internal Wiring |  | Required (Except Cable Wiring Between Rack Room and OXO C/R)
14
15
16
17
18
19
20
21
22 | Software | 1) 기상 Software |  | Required
23 |  | 2) Graphic Development |  | Required
24
25
26
27
28
29
30
31 | TEST | FAT |  | N/A
32
33
34
35
36
37 |  | I-FAT |  | N/A
38
39
40
41 |  | SAT |  | Required
42
43
44
45
46
47 | DOCUMENTS | Documents & Drawings |  | Drawing of System (System Architecture, Part Lists etc.)
48 |  |  |  | Cable and Terminal Diagrams
49 |  |  |  | Graphic
50
51
52
53
54
55
56 | PROQ. | Manufacturer
57 |  | Model
58
NOTE