## Total
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Plant Connection (Text) | Line Spec | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Flow Rate Max | Flow Rate Nor | Flow Rate Min | Flow Rate UOM | Velocity | Velocity UOM | Pressure Loss Maximum | Pressure Loss Normal | Press Loss UOM | Density | Density UOM | Viscosity | Viscosity UOM | MW | CpCv | Comp. Z | Critical_Press | Critical_Press_UOM | Vapor_Press | Vapor_Press_UOM | Flash Percent | UOM for Flash Percent | Shut Off DP | Shut Off DP UOM | Tight Shut Off | Failure Action | Hand Wheel | Conductivity | Conductivity UOM | Remarks-PS
C | /PG-3111D |  |  | false | PG | 3111 | D | 1 | 99595 | SL TO HE-3101A | DESCRIPTION | 1" | EQUIPMENT | A21 | SL |  | S |  | 4.00 |  | - |  | 152 |  | degC | 10.00 | - | F.V | 175 |  | degC |  |  |  | kg/hr |  |  |  |  | kg/cm2 |  | kg/m3 |  | cP |  |  |  |  | - |  | - |  | % |  | - |  |  |  |  | kcal/m_h_degC | REMARK

## CV_AVEVA UPLOAD
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Plant Connection (Text) | Line Spec | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Flow Rate Max | Flow Rate Nor | Flow Rate Min | Flow Rate UOM | Pressure Loss Maximum | Pressure Loss Normal | Press Loss UOM | Density | Density UOM | Viscosity | Viscosity UOM | MW | CpCv | Comp. Z | Critical_Press | Critical_Press_UOM | Vapor_Press | Vapor_Press_UOM | Flash Percent | UOM for Flash Percent | Shut Off DP | Shut Off DP UOM | Tight Shut Off | Failure Action | Hand Wheel | Remarks-PS

## CV_작성
Rev | Tag Number | Case | Tag Number 2 (OLD) | Logically deleted (삭제시 표기) | Type Code | Seq. No | Suffix | Qty | P&ID No. | Service | Instrument Type | Installation Inform |  |  | Fluid |  |  | Operating Condition | [7 empty] | Design Condition | [5 empty] | Flow Rate |  |  |  | Differential Pressure |  |  | Density |  | Viscosity |  | MW | Cp/Cv | Z | Critical Pressure |  | Vapor Pressure |  | Flash |  | Shut Off DP |  | Tight Shut Off | Fail Action | Hand Wheel | Remarks
[18 empty] | Pressure |  |  |  | Temperature, deg.C |  |  |  | Pressure |  |  | Temperature, deg.C
[12 empty] | Line Size | Equip No. | Spec | Code | Name | State | Max | Nor | Min | Unit | Max | Nor | Min | Unit | Int | Unit | Ext | Hot | Cold | Unit | Max | Nor | Min | Unit | Max | Nor | Unit |  | Unit |  | Unit | kg/kgmol |  |  |  | Unit |  | Unit |  | UnIT |  | Unit
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Plant Connection (Text) | Line Spec | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Flow Rate Max | Flow Rate Nor | Flow Rate Min | Flow Rate UOM | Pressure Loss Maximum | Pressure Loss Normal | Press Loss UOM | Density | Density UOM | Viscosity | Viscosity UOM | MW | CpCv | Comp. Z | Critical_Press | Critical_Press_UOM | Vapor_Press | Vapor_Press_UOM | Flash Percent | UOM for Flash Percent | Shut Off DP | Shut Off DP UOM | Tight Shut Off | Failure Action | Hand Wheel | Remarks-PS

## On-Off_UPLOAD
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Plant Connection (Text) | Line Spec | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Shut Off DP | Shut Off DP UOM | Tight Shut Off | Failure Action | Hand Wheel | Remarks-PS

## On-Off_작성
Rev | Tag Number | Case | Tag Number 2 (OLD) | Logically deleted (삭제시 표기) | Type Code | Seq. No | Suffix | Qty | P&ID No. | Service | Instrument Type | Installation Inform |  |  | Fluid |  |  | Operating Condition | [7 empty] | Design Condition | [5 empty] | Shut Off DP |  | Tight Shut Off | Fail Action | Hand Wheel | Remarks
[18 empty] | Pressure |  |  |  | Temperature, deg.C |  |  |  | Pressure |  |  | Temperature, deg.C
[12 empty] | Line Size | Equip No. | Spec | Code | Name | State | Max | Nor | Min | Unit | Max | Nor | Min | Unit | Int | Unit | Ext | Hot | Cold | Unit |  | Unit
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Plant Connection (Text) | Line Spec | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Shut Off DP | Shut Off DP UOM | Tight Shut Off | Failure Action | Hand Wheel | Remarks-PS

## Flow_UPLOAD
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Plant Connection (Text) | Line Spec | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Flow Rate Max | Flow Rate Nor | Flow Rate Min | Flow Rate UOM | Pressure Loss Maximum | Pressure Loss Normal | Press Loss UOM | Density | Density UOM | Viscosity | Viscosity UOM | MW | CpCv | Comp. Z | Critical_Press | Critical_Press_UOM | Vapor_Press | Vapor_Press_UOM | Flash Percent | UOM for Flash Percent | Remarks-PS

## Flow_작성
Rev | Tag Number | Case | Tag Number 2 (OLD) | Logically deleted (삭제시 표기) | Type Code | Seq. No | Suffix | Qty | P&ID No. | Service | Instrument Type | Installation Inform |  |  | Fluid |  |  | Operating Condition | [7 empty] | Design Condition | [5 empty] | Flow Rate |  |  |  | Differential Pressure |  |  | Density |  | Viscosity |  | MW | Cp/Cv | Z | Critical Pressure |  | Vapor Pressure |  | Flash |  | Remarks
[18 empty] | Pressure |  |  |  | Temperature, deg.C |  |  |  | Pressure |  |  | Temperature, deg.C
[12 empty] | Line Size | Equip No. | Spec | Code | Name | State | Max | Nor | Min | Unit | Max | Nor | Min | Unit | Int | Unit | Ext | Hot | Cold | Unit | Max | Nor | Min | Unit | Max | Nor | Unit |  | Unit |  | Unit | kg/kgmol |  |  |  | Unit |  | Unit |  | UnIT
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Plant Connection (Text) | Line Spec | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Flow Rate Max | Flow Rate Nor | Flow Rate Min | Flow Rate UOM | Pressure Loss Maximum | Pressure Loss Normal | Press Loss UOM | Density | Density UOM | Viscosity | Viscosity UOM | MW | CpCv | Comp. Z | Critical_Press | Critical_Press_UOM | Vapor_Press | Vapor_Press_UOM | Flash Percent | UOM for Flash Percent | Remarks-PS

## Press_UPLOAD
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Line Spec | Plant Connection (Text) | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Pressure Loss Maximum | Pressure Loss Normal | Press Loss UOM | Remarks-PS

## Press_작성
Rev | Tag Number | Case | Tag Number 2 (OLD) | Logically deleted (삭제시 표기) | Type Code | Seq. No | Suffix | Qty | P&ID No. | Service | Instrument Type | Installation Inform |  |  | Fluid |  |  | Operating Condition | [7 empty] | Design Condition | [5 empty] | Differential Pressure |  |  | Remarks
[18 empty] | Pressure |  |  |  | Temperature, deg.C |  |  |  | Pressure |  |  | Temperature, deg.C
[12 empty] | Line Size | Equip No. | Spec | Code | Name | State | Max | Nor | Min | Unit | Max | Nor | Min | Unit | Int | Unit | Ext | Hot | Cold | Unit | Max | Nor | Unit
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Line Spec | Plant Connection (Text) | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Pressure Loss Maximum | Pressure Loss Normal | Press Loss UOM | Remarks-PS

## Temp_UPLOAD
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Line Spec | Plant Connection (Text) | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Velocity | Velocity UOM | Density | Density UOM | Viscosity | Viscosity UOM | MW | CpCv | Comp. Z | Remarks-PS

## Temp_작성
Rev | Tag Number | Case | Tag Number 2 (OLD) | Logically deleted (삭제시 표기) | Type Code | Seq. No | Suffix | Qty | P&ID No. | Service | Instrument Type | Installation Inform |  |  | Fluid |  |  | Operating Condition | [7 empty] | Design Condition | [5 empty] | Velocity |  | Density |  | Viscosity |  | MW | Cp/Cv | Z | Remarks
[18 empty] | Pressure |  |  |  | Temperature, deg.C |  |  |  | Pressure |  |  | Temperature, deg.C
[12 empty] | Line Size | Equip No. | Spec | Code | Name | State | Max | Nor | Min | Unit | Max | Nor | Min | Unit | Int | Unit | Ext | Hot | Cold | Unit |  | Unit |  | Unit |  | Unit | kg/kgmol
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Line Spec | Plant Connection (Text) | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Velocity | Velocity UOM | Density | Density UOM | Viscosity | Viscosity UOM | MW | CpCv | Comp. Z | Remarks-PS

## Level_UPLOAD
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Plant Connection (Text) | Line Spec | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Density | Density UOM | Viscosity | Viscosity UOM | Conductivity | Conductivity UOM | Remarks-PS

## Level_작성
Rev | Tag Number | Case | Tag Number 2 (OLD) | Logically deleted (삭제시 표기) | Type Code | Seq. No | Suffix | Qty | P&ID No. | Service | Instrument Type | Installation Inform |  |  | Fluid |  |  | Operating Condition | [7 empty] | Design Condition | [5 empty] | Density |  | Viscosity |  | Conductivity |  | Remarks
[18 empty] | Pressure |  |  |  | Temperature, deg.C |  |  |  | Pressure |  |  | Temperature, deg.C
[12 empty] | Line Size | Equip No. | Spec | Code | Name | State | Max | Nor | Min | Unit | Max | Nor | Min | Unit | Int | Unit | Ext | Hot | Cold | Unit |  | Unit |  | Unit |  | Unit
Rev | Name | Case | Old Tag Name | Logically deleted from the project | Inst_Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Line Size | Plant Connection (Text) | Line Spec | Fluid Code | Fluid Name | Phase | OP Max | OP Nor | OP Min | OP UOM | OT Max | OT Nor | OT Min | OT UOM | DP (Int) | DP (Int) UOM | DP (FV) | DT Hot | DT Cold | DT UOM | Density | Density UOM | Viscosity | Viscosity UOM | Conductivity | Conductivity UOM | Remarks-PS

## PSV_UPLOAD
Rev | Name | Case | Old Tag Name | Logically deleted | Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Inlet Size (ANSI) | Inlet MOC (ANSI) | Outlet Size (ANSI) | Outlet MOC (ANSI) | Plant Connection - Text | Sizing Basis | Fluid Code | Fluid Name | State | Required Capacity | Required Capacity UOM | Press Set | Press UOM | Over Press | Over Press UOM | Constant Back Press | Variable Back Press | Builtup Back Pressure | Total Back Press | :Back_Press_UOM | Temp Relieving | Temp Relieving UOM | MW | Cp/Cv | Compressibility Z | Viscosity | Viscosity UOM | Density | Density UOM | Remarks-PS
0
0

## PSV_작성
Rev | Tag Number | Case | Tag Number 2 (OLD) | Logically deleted (삭제시 표기) | Type Code | Seq. No | Suffix | Qty | P&ID No. | Service | Instrument Type | Inlet line size | Inlet MOC | Outlet line size | Outlet MOC | Equipment No, | Sizing basis | Fluid |  |  | Relieving capacity |  | Set pressure |  | Over pressure |  | Constant back pressure | Variable back pressure | Builtup back pressure | Total back pressure | Back pressure_UOM | Relieving temperature |  | MW | Cp/Cv | Z | Viscosity |  | Density |  | Remarks
[18 empty] | Code | Name | State |  | Unit |  | Unit |  | Unit | [6 empty] | Unit | kg/kgmol |  |  |  | Unit |  | Unit
Rev | Name | Case | Old Tag Name | Logically deleted | Type_Code | Seq No | Suffix | Qty | P&ID No | Service | Inst Type Desc | Inlet Size (ANSI) | Inlet MOC (ANSI) | Outlet Size (ANSI) | Outlet MOC (ANSI) | Plant Connection - Text | Sizing Basis | Fluid Code | Fluid Name | State | Required Capacity | Required Capacity UOM | Press Set | Press UOM | Over Press | Over Press UOM | Constant Back Press | Variable Back Press | Builtup Back Pressure | Total Back Press | :Back_Press_UOM | Temp Relieving | Temp Relieving UOM | MW | Cp/Cv | Compressibility Z | Viscosity | Viscosity UOM | Density | Density UOM | Remarks-PS
0
0

## Manual
Rev | Tag Number | Case | Tag Number 2 (OLD) | Logically deleted (삭제시 표기) | Type Code | Seq. No | Suffix | Qty | P&ID No. | Service | Instrument Type | Process Function | Installation Inform |  |  | Fluid |  |  | Operating Condition | [7 empty] | Design Condition | [5 empty] | Flow Rate |  |  |  | Velocity |  | Differential Pressure |  |  | Density |  | Viscosity |  | MW | Cp/Cv | Z | Critical Pressure |  | Vapor Pressure |  | Flash |  | Shut Off DP |  | Tight Shut Off | Fail Action | Hand Wheel | Conductivity | Remarks
[19 empty] | Pressure |  |  |  | Temperature, deg.C |  |  |  | Pressure |  |  | Temperature, deg.C
[13 empty] | Line Size | Equip No. | Spec | Code | Name | State | Max | Nor | Min | Unit | Max | Nor | Min | Unit | Int | Unit | Ext | Hot | Cold | Unit | Max | Nor | Min | Unit |  | Unit | Max | Nor | Unit |  | Unit |  | Unit | kg/kgmol |  |  |  | Unit |  | Unit |  | UnIT |  | Unit
Rev | Name | Detail ID | Name(OLD) | Logically deleted | :Inst_Type_Code | :Tag_Seq_No | :Tag_Suffix | :Quantity | :PID_No | :Service | Type_Desc | :ProcFunc | :Line_Size | :Plant_Connection_Txt | :Matl_Code | :Fluid_Code_1 | :Fluid_Name_1 | :Phase | :Oper_Press_Max | :Oper_Press_Nor | :Oper_Press_Min | :Oper_Press_UOM | :Oper_Temp_Max | :Oper_Temp_Nor | :Oper_Temp_Min | :Oper_TemP_UOM | :Desi_Press_int | :Desi_Press_int_UOM | :Desi_Press_Ext_FV | :Desi_Temp_1 | :Desi_Temp_UOM | :Desi_Temp_22 | :Flow_Rate_Max | :Flow_Rate_Nor | :Flow_Rate_Min | :Flow_Rate_UOM | :velocity | :velocity_UOM | :Press_Loss_Max | :Press_Loss_Nor | :Press_Loss_UOM | :Density_1 | :Density_1_UOM | :Viscosity_1 | :Viscosity_1_UOM | :Vap_MW | :CpCv | :Compressibility | Critical_Pressure | :Critical_Pressure_UOM | :Vapor_pressure | :Vapor_pressure_UOM | :Flash_Percent | :Flash_Percent_UOM | :Shut_Off_DP | :Shut_Off_DP_UOM | :Tight_Shut_Off | :Failure_Action | :Hand_Wheel | Conductivity1 | :Remarks_PS
A | TV-3122A |  | TV-3120A |  | TV | 3112 | A | 1 | 3114A | NG FROM EH-3801 | Globe | Controlv | 2" |  | B50 | NG | Nitrogen | V |  | 2.00 |  | kg/cm2g |  | 250 |  |  | 9.90 | kg/cm2g | F.V | 200 |  |  | 50 | 30 |  | kg/hr | [5 empty] | 8.33 |  | 0.02 |  |  | 1.414 | 0.998 | [9 empty] | FC
A | PG-3114A |  |  |  | PG | 3114 | A | 1 | 3114A | EE TO DV-3101A |  | Press | 3" |  | A26 | EE | Ethylene | V |  | 0.20 |  | kg/cm2g |  | 120 |  |  | 3.50 | kg/cm2g | F.V | 200
A | TT-3122A |  |  |  | TT | 3112 | A | 1 | 3114A | NG FROM EH-3801 |  | Temp | 2" |  | B50 | NG | Nitrogen | V |  | 2.00 |  | kg/cm2g |  | 250 |  |  | 9.90 | kg/cm2g | F.V | 200 | [6 empty] | 126.00 |  |  |  |  | 8.33 |  | 0.02 |  |  | 1.414 | 0.998
A | LT-3122A |  |  |  | LT | 3112 | A | 1 | 3114A | NG FROM EH-3801 |  | Level | 2" |  | B50 | NG | Nitrogen | V |  | 2.00 |  | kg/cm2g |  | 250 |  |  | 9.90 | kg/cm2g | F.V | 200 | [11 empty] | 800/500 | [18 empty] | heavy/ light case는 시 remark 적어주기
A | HV-3711 |  |  |  | HV | 3711 |  | 1 | 3114A | CT FROM HP-3711A |  | On-Off | 8" |  | A50 | SD | CNT | SD | 2.00 | ATM |  | kg/cm2g |  | AMB |  |  | 3.50 | kg/cm2g |  | 100 | [24 empty] | 3.50 | kg/cm2
A | FT-3122A |  |  |  | FT | 3112 | A | 1 | 3114A | NG FROM EH-3801 |  | Flow | 2" |  | B50 | NG | Nitrogen | V |  | 2.00 |  | kg/cm2g |  | 250 |  |  | 9.90 | kg/cm2g | F.V | 200
A | FV-2328_Case 1 | Case 1 |  |  | FV | 2328 |  | 1 |  | CO-2308 OVHD OUTLET | Globe | Controlv | 3" |  | BA1 | RF2 | RAFFINATE |  |  | 9 |  | kg/cm2g |  | 72 |  |  | 12 | kg/cm2g | F.V | 100 |  | -10.8 | 18739.2 | 15616 | 4684.8 | m3/hr | [5 empty] | 536 |  | 0.1 |  |  |  |  | 40.55 | kg/cm2g | 9.24 | kg/cm2a | 6.9 |  | 12 | kg/cm2 |  | FC
| FV-2328_Case2 | Case 2
| LV-2500_Liquid | Liquid | [15 empty] | M(L)
| LV-2500_Vapor | Vapor | [15 empty] | M(V)
|  | Gray Color 부분 (행 1~3) |  | 1. SDMS 성과품 issue 시, gray color 부분 사용, blue color (행 4)는 숨김 처리
2. AVEVA ENG 업로드 시, blue color 사용. (gray color 부분을 그대로 유지하거나, 숨김처리하면 upload 안됨, 반드시 행 1~3 삭제 후 upload !!!!!!)
General
| 1 | 열 추가, 삭제 불가
| 2 | Rev |  | Up-date Rev. 표기
|  | Tag Number |  | Tag No. 표기
|  | Case |  | a. Case가 한가지 이상인 경우, 행을 구분하여 입력. b. Two phase service인 경우, 행을 구분하여 입력(Liquid property, vapor property 입력)
|  | Tag Number 2 (OLD) |  | Tag No. 변경되면 B열에 New No. 기입, 예전 tag No.는 C열에 기입 -> B열 tag가 기본이 됨
|  | Logically deleted |  | 삭제시 표기 (Ture: 삭제, False: 삭제 아님) > 삭제 후 재 사용 필요시 ADMIN 에게 요청
|  | Type Code |  | Instrument code 표기
|  | Seq. No |  | Instrument Sequence No.
|  | Suffix |  | 동일 Seq. No에 A, B, C 존재 시 표기
|  | Quantity |  | 개수 표기
|  | P&ID No. |  | P&ID No. 기입
|  | Service |  | Service 기입
|  | Instrument Type |  | Type 기입, 프로그램 사용시 선택해서 입력해야 됨
|  | Process Fuction |  | Pressure, Temperature, Level, Flow, On-off, Control valve 선택, 통합 DB INST-ALL VIEW에서도 선택 가능
|  | Installation Inform |  | Line size+spec. 혹은 Equipment No. 기입
|  | Fluid |  | Fluid code, Name 입력, State L(Liquid), V(Vapor), S(Steam), M(L) (Mixture, Liquid), M(V) (Mixture Vapor), P(Pellet), SD(Solid), G(Gas)
|  | Operating |  | 운전 압력, 온도 조건 (프로젝트 시작 시 압력, 온도 단위 정의 필요)
|  | Design |  | 설계 압력: Press: Int: 내부 양압 조건, Ext: Vacuum 조건 표기. 설계 온도: Temp: Hot: 고온 설계 온도, Cold: 저온 설계 온도, 미입력시 BEDD 정의한 최하 온도
| 3 | Property value, 정해진 자리수로만 입력, 표시가 아님!!!!!!
|  | Value ≥ 100, 소수점 아래 표현 안함 |  |  |  | 1000.3 | -> | 1000 |  |  | 단위 | Temperature |  | oC
|  | Value < 100, 소수점 아래 두자리까지 표현 |  |  |  | 50.114 | -> | 50.11 |  |  |  | Pressure |  | barG, barA, bar, kPaG, MPaG, mmH2O |  |  |  | absolute 대문자 A, gauge 대문자 G로 표현
|  | Temperature는 정수로만 표현 |  |  |  | 150.2 | -> | 150 |  |  |  | Flow |  | Nm3/hr, m3/hr, kg/hr
|  | CP/CV 소수점 3번째 자리 |  |  |  | 1.2449 | -> | 1.245 |  |  |  | Viscosity |  | cP
|  | Z 소수점 아래 3번째 자리 |  |  |  | 0.9874 | -> | 0.987 |  |  | Abbriviation | Full liquid |  | FL
|  | Percent 는 정수 |  |  |  | 21.1 | -> | 21 |  |  |  | Full vacuum |  | F.V
[12 empty] | 상압 |  | ATM
| Pressure | [10 empty] | 상온 |  | AMB
| Differential Pressure |  |  | PDT, PDG 경우 입력
Temperature
| Velocity |  |  | Line에 설치될 경우 Velocity 기입
| Property |  |  | MW, k, Z, Viscosity 기입
Level
| Level Inform |  |  | Light/heavy 의 density, viscosity 입력
| Conductivity |  |  | 필요한 경우 입력
On-Off Valve
| Shut off Pressure |  |  | Shut off pressure 기입
| Tight Shut Off |  |  | TSO 적용 시 'YES' 표현
| Fail Action |  |  | FC, FO, FL 표현
| Handwheel |  |  | Handwheel 적용 시 'YES' 표현
Control Valve
| Liquid Flow Rate |  |  | Flow rate 기입
| Vapor Flow Rate |  |  | Flow rate 기입
| Differential Pressure |  |  | Differential pressure 기입
| Density |  |  | Density 기입
| Viscosity |  |  | Viscosity기입
| MW |  |  | MW 기입
| k |  |  | Cp/Cv 값 기입
| Z |  |  | Compressibility 기입
| Critical Pressure |  |  | 필요한 경우 Critical Pressure 기입
| Vapor Pressure |  |  | Vapor Pressure 기입
| Flash% |  |  | Flashing되는 경우 % 기입
| Shut off Pressure |  |  | Shut off pressure 기입
| Tight Shut Off |  |  | TSO 적용 시 표현, 해당할 경우 'YES' 기입
| Fail Action |  |  | FC, FO, FL 표현
| Handwheel |  |  | Handwheel 적용 시 'YES' 표현
Flow
| Liquid Flow Rate |  |  | Flow rate 기입
| Vapor Flow Rate |  |  | Flow rate 기입
| Differential Pressure |  |  | Differential pressure 기입
| Density |  |  | Density 기입
| Viscosity |  |  | Viscosity기입
| MW |  |  | MW 기입
| k |  |  | Cp/Cv 값 기입
| Z |  |  | Compressibility 기입
| Critical Pressure |  |  | 필요한 경우 Critical Pressure 기입
| Vapor Pressure |  |  | 필요한 경우 Vapor Pressure 기입
| Flash % |  |  | Flashing되는 경우 % 기입
PSV
| Sizing Basis |  |  | Scenario 기입
| Relieving Capacity |  |  | Relieving Capacity 입력, kg/hr
| Set Pressure |  |  | Set Pressure 입력
| Over pressure |  |  | Over Pressure % 입력
| Back Pressure |  |  | Back Pressure 입력, 소수점 아래 3자리
|  | Constant BP |  | 반드시 기입 필요
|  | Variable BP |  | 반드시 기입 필요
|  | Builtup BP |  | 반드시 기입 필요
|  | Totakl BP |  | AVEVA에 자동 계산됨, 기입필요 없음
| Relieving Condition |  |  | Relieving Condition입력